## Sheet1
Entrance Plaza
Sl.No. | Location | P.t.z | Bullet | Dome
1 | Ticket counter | 0 | 0 | 5 | ok
2 | Control room & ticket counter gallery | 0 | 0 | 1 | ok
3 | Control room | 0 | 0 | 2 | ok |  | Total PTZ | 71 | 3
4 | Interpecation room | 0 | 0 | 3 | ok |  | Total Bullet | 92
5 | Vip room | 0 | 0 | 1 | ok |  | Total Dome | 177
6 | 180 Theather | 0 | 0 | 5 | ok
7 | Exibhition hall | 0 | 0 | 2 | ok |  | Total Camera | 340
8 | Entrance Corridor | 5 | 2 | 2 | ok
9 | Sapat stambh (Web Camera) | 2 | 0 | 0 | ok
10 | Back side of ticket counter | 0 | 1 | 0 | ok |  | ok | 0
11 | Nature Safari Bus Shed (Pick Up) | 0 | 1 | 0 | ok |  | repair | 0
12 | Bus Shed | 0 | 2 | 0 | ok
| Total Camera.- | 7 | 2 | 21 | 34
Safari Plaza
Sl.No. | Location | P.t.z | Bullet | Dome | Remark
1 | Orientation Room | 0 | 0 | 2 | ok
2 | Control room T/C | 0 | 0 | 1 | ok
3 | Control room | 0 | 0 | 1 | ok
4 | Administrative room | 0 | 0 | 1 | ok
5 | Corridor | 1 | 2 | 2 | ok
6 | Entry Point | 1 | 0 | 0 | ok
7 | Pickup Point | 1 | 0 | 0 | ok
8 | Drop Point | 1 | 0 | 0 | ok
| Total Camera.- | 4 | 2 | 7 | 13
Bird Avivary
Sl.No. | Location | P.t.z | Bullet | Dome | Remark
1 | Drain Area | 1 | 0 | 0 | ok
2 | Pond Area | 1 | 0 | 0 | ok
3 | Service Corridor | 0 | 0 | 7 | ok
4 | Viewing Deck Upper Corridor | 1 | 4 | 0 | ok
5 | Keeper Room | 0 | 0 | 2 | ok
6 | Store Room | 0 | 0 | 2 | ok
7 | Doctor' S Chamber | 0 | 0 | 1 | ok
8 | Equipment Room | 0 | 0 | 2 | ok
9 | Children Park | 0 | 1 | 1 | ok
| Near Open Theater | 0 | 3 | 0 | ok
10 | Near Avivary Sinageg Bord | 1 | 0 | 0 | ok
11 | Near Safari Plaza Road | 0 | 3 | 0 | ok
| Total Camera.- | 4 | 11 | 15 | 30
Carnivore Qurantine
Sl.No. | Location | P.t.z | Bullet | Dome | Remark
1 | Main Gate | 0 | 1 | 0 | ok
2 | Gallery | 0 | 3 | 0 | ok
3 | Keeper Room | 0 | 1 | 0 | ok
4 | Kaaral No- 02 | 1 | 0 | 0 | ok
| Total Camera.- | 1 | 5 | 0 | 6
Commissary
Sl.No. | Location | P.t.z | Bullet | Dome | Remark
1 | Entrance Vehicle | 1 | 0 | 0 | ok
2 | Main Entrance | 0 | 1 | 0 | ok
3 | Office | 0 | 1 | 0 | ok
6 | Kitchen Room | 0 | 0 | 1 | ok
8 | Gram Soaking | 0 | 0 | 1 | ok
9 | Fruits 2 Veg Room | 0 | 1 | 0 | ok
11 | Husk Store | 0 | 1 | 0 | ok
12 | Mash Preparation | 0 | 0 | 1 | ok
13 | Mash Item | 0 | 0 | 1 | ok
14 | Beef | 0 | 0 | 1 | ok
15 | Cold Storge | 0 | 0 | 1 | ok
16 | Cold Storge Gate | 0 | 1 | 0 | ok
| Total Camera.- | 1 | 5 | 6 | 12
Hospital
Sl.No. | Location | P.t.z | Bullet | Dome | Remark
1 | Out Side Main Door | 1 | 0 | 0 | ok
2 | Inside Main Door | 0 | 0 | 1 | ok
3 | Right Side Gallery | 1 | 0 | 2 | ok
4 | Left Side Gallery | 0 | 0 | 1 | ok
5 | Laboratory Room | 0 | 0 | 1 | ok
6 | Pharmacy Room | 0 | 0 | 1 | ok
7 | Staff Room | 0 | 0 | 1 | ok
8 | Doctor' s Chamber-1 | 0 | 0 | 1 | ok
9 | Doctor' s Chamber-2 | 0 | 0 | 1 | ok
10 | Record Room | 0 | 0 | 1 | ok
11 | Equipment Store Room | 0 | 0 | 1 | ok
12 | Nuresry Room | 1 | 0 | 1 | ok
13 | Operation Room | 0 | 0 | 1 | ok
14 | Surgical Room | 0 | 0 | 1 | ok
15 | X- Ray Room | 0 | 0 | 1 | ok
16 | Observation Room | 0 | 0 | 1 | ok
17 | Uitrasound Room | 0 | 0 | 1 | ok
18 | Kraal no-4 | 1 | 0 | 0 | ok
19 | Kraal no-3 | 0 | 1 | 0 | ok
20 | Behind The Hospital | 1 | 0 | 0 | ok
| Total Camera.- | 5 | 1 | 17 | 23
Herbivore Retiring Room
Sl.No. | Location | P.t.z | Bullet | Dome | Remark
1 | Block-A | 0 | 0 | 8 | ok
2 | Block-B | 0 | 0 | 8 | ok
3 | Block-C | 1 | 0 | 9 | ok
4 | Kraal | 0 | 1 | 0 | ok
5 | Jarasandh Gate | 1 | 1 | 0 | ok
6 | Mrigvihar Gate | 1 | 1 | 0 | ok | camera ,not available
7 | DG-01 | 2 | 1 | 1 | ok
8 | DG-02 | 2 | 1 | 1 | ok
9 | Fire Station (Mrigvihar Gate) | 0 | 2 | 0 | ok
| Total Camera.- | 7 | 7 | 27 | 41
04 No & 05 Parking / Stone Wall
Sl.No. | Location | P.t.z | Bullet | Dome | Remark
1 | Main gate 04 No Parking | 1 | 1 | 0 | ok
2 | 04 No Parking Pole Par (Behind) | 0 | 2 | 0 | ok
3 | Bathroom Roof | 0 | 2 | 0 | ok
4 | Road Side N.H | 1 | 0 | 0 | ok
5 | Road Side N.H 4no & 5no (Middle) | 0 | 2 | 0 | ok
6 | 05 No (N.H) Road | 1 | 0 | 0 | ok | Wire Fault
7 | 05 No Parking Stone Wall | 1 | 1 | 0 | ok
8 | Ticket Counter Cabin | 0 | 1 | 1 | ok
9 | Gate No-3 | 0 | 1 | 0 | ok
10 | Gate No-1 | 1 | 1 | 0 | ok
11 | Gate No-2 | 0 | 1 | 0 | ok
| Total Camera.- | 5 | 12 | 1 | 18
Admin Block
Sl.No. | Location | P.t.z | Bullet | Dome | Remark
1 | Director Chamber | 0 | 0 | 1 | ok
2 | Deputy Director Chamber | 0 | 0 | 1 | ok
3 | Division Office | 0 | 1 | 1 | ok
4 | Video Conference Hall | 0 | 0 | 2 | ok
5 | Library Room | 0 | 0 | 1 | ok
6 | Main Gate Admin | 0 | 0 | 2 | ok
7 | Training Area | 0 | 0 | 2 | ok
8 | Forester Zone | 0 | 0 | 1 | ok
9 | ROF-1 | 0 | 0 | 1 | ok
10 | ROF-2 | 0 | 0 | 1 | ok
11 | ROF-3 | 0 | 0 | 1 | ok
| Facility Hall | 0 | 0 | 1 | ok
| Portico | 1 | 0 | 0 | ok
| Total Camera- | 1 | 1 | 15 | 17
Camera Details Report
Lion Retiring room
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Keeper room | 0 | 0 | 1 | ok
2 | Store room | 0 | 0 | 1 | ok
3 | Gallery | 0 | 3 | 3 | ok | camera weire fault
4 | Dark room | 1 | 0 | 2 | ok
5 | Cell No.-01 | 0 | 0 | 1 | ok
6 | Cell No.-02 | 1 | 0 | 2 | ok
7 | Cell No.-03 | 0 | 0 | 1 | ok
8 | Cell No.-04 | 0 | 0 | 1 | ok
9 | Cell No.-05 | 0 | 0 | 1 | ok
10 | Cell No.-06 | 0 | 0 | 1 | ok
11 | Cell No.-07 | 1 | 0 | 2 | ok
12 | Kraal No.-01 | 0 | 2 | 0 | ok | Repair camera
13 | Kraal No.-02 | 1 | 2 | 0 | ok | Repair camera
14 | Kraal No.-03 | 1 | 2 | 0 | ok
15 | Kraal No.-04 | 0 | 2 | 0 | ok | Repair camera
16 | Main Gate | 1 | 0 | 0 | ok | Repair camera
17 | Behind of Retiring room | 2 | 0 | 0 | ok
| Total Camera | 8 | 11 | 16 | 35
Lion Double Gate- 01
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Dg Keeper room | 0 | 0 | 1 | ok
2 | Gate 1st | 1 | 0 | 0 | ok
3 | Gate 2nd | 1 | 0 | 0 | ok
4 | B/W 1st and 2nd Gate | 0 | 0 | 0 | ok
| Total Camera | 2 | 0 | 1 | 4
Lion Double Gate- 02
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Dg Keeper room | 0 | 0 | 1 | ok
2 | Gate 1st | 1 | 0 | 0 | ok | camera not available
3 | Gate 2nd | 1 | 0 | 0 | ok | camera not available
4 | B/W 1st and 2nd Gate | 0 | 1 | 0 | ok | camera not available
| Total Camera | 2 | 1 | 1 | 4
Tiger Retiring room
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Keeper room | 0 | 0 | 1 | ok
2 | Store room | 0 | 0 | 1 | ok
3 | Gallery | 0 | 4 | 5 | ok
4 | Dark room | 0 | 0 | 1 | ok
5 | Dark room | 0 | 0 | 1 | ok
6 | Half Dark room | 0 | 0 | 1 | ok
7 | Cell No.-01 | 0 | 0 | 1 | ok
8 | Cell No.-02 | 0 | 0 | 1 | ok
9 | Cell No.-03 | 0 | 0 | 1 | ok
10 | Cell No.-04 | 0 | 0 | 1 | ok
11 | Cell No.-05 | 0 | 0 | 1 | ok
12 | Cell No.-06 | 0 | 0 | 1 | ok
13 | Cell No.-07 | 0 | 0 | 1 | ok
14 | Kraal No.-01 | 0 | 2 | 0 | ok
15 | Kraal No.-02 | 0 | 2 | 0 | ok
16 | Kraal No.-03 | 0 | 2 | 0 | ok
17 | Kraal No.-04 | 0 | 2 | 0 | ok
18 | Main Gate | 1 | 0 | 0 | ok
19 | Behind of Retiring room | 2 | 0 | 0 | ok
| Total Camera | 3 | 12 | 17 | 32
Tiger Double Gate- 01
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Dg Keeper room | 0 | 0 | 1 | ok
2 | Gate 1st | 1 | 0 | 0 | ok
3 | Gate 2nd | 1 | 0 | 0 | ok | cameera not available
4 | B/W 1st and 2nd Gate | 0 | 1 | 0 | ok
| Total Camera | 2 | 1 | 1 | 4
Tiger Double Gate- 02
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Dg Keeper room | 0 | 0 | 1 | ok
2 | Gate 1st | 1 | 0 | 0 | ok | cameera not available
3 | Gate 2nd | 1 | 0 | 0 | ok | cameera not available
4 | B/W 1st and 2nd Gate | 0 | 1 | 0 | ok
| Total Camera | 2 | 1 | 1 | 4
Leopard Retiring room
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Keeper room | 0 | 0 | 1 | ok
2 | Store room | 0 | 0 | 0 | ok
3 | Gallery | 0 | 2 | 4 | ok
4 | Dark room | 0 | 0 | 1 | ok
5 | Cell No.-01 | 0 | 0 | 1 | ok
6 | Cell No.-02 | 0 | 0 | 1 | ok
7 | Cell No.-03 | 0 | 0 | 1 | ok
8 | Cell No.-04 | 0 | 0 | 1 | ok
9 | Cell No.-05 | 0 | 0 | 1 | ok
10 | Cell No.-06 | 0 | 0 | 1 | ok
11 | Cell No.-07 | 0 | 0 | 2 | ok
12 | Kraal No.-01 | 0 | 2 | 0 | ok | (1) 8port POE switch 2 lane problem
13 | Kraal No.-02 | 1 | 2 | 0 | ok
14 | Main Gate | 1 | 0 | 0 | ok
15 | Behind of Retiring room | 2 | 0 | 0 | ok
| Total Camera | 4 | 6 | 14 | 24
Leopard Double Gate- 01
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Dg Keeper room | 0 | 1 | 0 | ok
2 | Bus bay | 0 | 1 | 0 | ok
3 | In front of Gate | 1 | 0 | 0 | ok
4 | Behind of Gate | 1 | 0 | 0 | ok
| Total Camera | 2 | 2 | 0 | 4
Leopard Double Gate- 02
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Dg Keeper room | 0 | 1 | 0 | ok
2 | Bus bay | 0 | 1 | 0 | ok
3 | In front of Gate | 1 | 0 | 0 | ok
4 | Behind of Gate | 1 | 0 | 0 | ok
| Total Camera | 2 | 2 | 0 | 4
Bear Retiring room
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Keeper room | 0 | 0 | 1 | ok
2 | Store room | 0 | 0 | 0 | ok
3 | Gallery | 0 | 2 | 5 | ok
4 | Dark room | 1 | 0 | 2 | ok
5 | Cell No.-01 | 0 | 0 | 1 | ok
6 | Cell No.-02 | 0 | 0 | 1 | ok
7 | Cell No.-03 | 0 | 0 | 1 | ok
8 | Cell No.-04 | 0 | 0 | 1 | ok
9 | Cell No.-05 | 0 | 0 | 1 | ok
10 | Cell No.-06 | 0 | 0 | 1 | ok
11 | Cell No.-07 | 0 | 0 | 1 | ok
12 | Cell No.-08 | 0 | 0 | 1 | ok
13 | Cell No.-09 | 0 | 0 | 1 | ok
14 | Kraal No.-01 | 0 | 2 | 0 | ok
15 | Kraal No.-02 | 0 | 2 | 0 | ok
16 | Compus Area | 2 | 0 | 0 | ok
17 | Main Gate | 0 | 0 | 0 | ok
18 | Behind of Retiring room | 2 | 0 | 0 | ok
| Total Camera | 5 | 6 | 17 | 28
Bear Double Gate- 01
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Dg Keeper room | 0 | 1 | 0 | ok
2 | Bus bay | 0 | 1 | 0 | ok
3 | In front of Gate | 1 | 0 | 0 | ok
4 | Behind of Gate | 1 | 0 | 0 | ok
| Total Camera | 2 | 2 | 0 | 4
Bear Double Gate- 02
Sr No. | Camera Location | PTZ | Bulet | Dome | Remarks
1 | Dg Keeper room | 0 | 1 | 0 | ok
2 | Bus bay | 0 | 1 | 0 | ok
3 | In front of Gate | 1 | 0 | 0 | ok
4 | Behind of Gate | 1 | 0 | 0 | ok
| Total Camera | 2 | 2 | 0 | 4